July 25, 2007

Industrial Air Quality

102 AG Drive

Youngsville, NC  27596

Attn: Chuck Morrison

Email: cmorrison@iaqsales.com

Reference: Duct collection control system

ESSCO Quote No. Q070420 Rev A

Dear Chuck:

We are pleased to offer the following quote for  your application.  This is our best understanding of what is needed.  We should review this in detail if you wish to proceed and make sure we have everything handled as needed.

Qty 1 Control Panel CUL listed

- Nema 12 wall mounted enclosure

- Door interlocked input non fusible 200 amp disconnect

- 120VAC control power transformer with fusing

- (3) 2HP, 575V full voltage non-reversing AC motor starters with circuit breakers (lockable) for rotary air locks

- (1) 50HP, 575V, ABB ACS550 variable speed drive

- (1) 40hp, 575V, ABB ACS550 variable speed drive

- (2) 100 amp fusible disconnects with fast acting fuses 3 – 90 amp 3 – 80 amp

- (1) PF7000 cabinet fan with thermostat

- Mitsubishi FX series PLC for required control logic

- Field connections taken to terminal strip

Door Mounted:

- (2) ABB drive keypads

- (3) Airlock Off-On selector switches

- Run pilot lights for the fans and air locks

- Selector switch for off-line cleaning

- Run pilot light for cleaning cycle

The system will be programmed to automatically cycle through the required start and stop sequence per your specifications.

Full CAD documentation will be provided.

Net Price for Control Panel	$15,600.00

Terms: 	Net 30 Days with approved credit

F.O.B. Shipping Point

Freight Collect

Delivery: 4-6 weeks

Thank you for this opportunity to quote your automation needs.  Please let me know if you have any questions.

Sincerely,

Stan Shelton

ESSCO

cc: Mike Fitch	ESSCO Sales