Guilford Tech Community College 4 annual installs

Six Systems

**ACE 3000** 1 Collector with 1 Ashrae and 1 Carbon  **Vender**:Koch Filter Corporation

95 Ashrae 24”x24”x12” **v-bank with ½” thickness flange**  **Part #FM-23060**

Carbon 24”x24”x4”  **Part#FM-CA-2424**

**AT16**  1 Collector with 32 Filters**(One install per year at year end) Vender**: Action Filtration Inc

80/20 FR 13.84”x9.47” Galvanized **Part #FM-80F12010**

**FRED** 1 Collector with 1 Filter **Vender:**Action Filtration Inc

21Tx17.65 od x 12.20 id ETFR 484PLT x 2-0-0  **Part #CF 000026**

**CA6000** 2 Collectors 18 Filters ea **Vender:**Apel Internation Inc

12.75”OD x 8.375”ID x 26”H Open/Closed 313 pleats 80/20 **Part #C406B4-1A**

**OCTOPUS** 1 Collector with 2 Filters **Vender:**Koch Filter Corporation

24”x24”x12”  **Part#FM-23060**